## Slide 1: Analysis of Improving the spatial solution of electrocardiographic imaging: A new regularization parameter choice technique for the Tikhonov method by J Chamorro-Servent
Kutay Uğurlu

## Slide 2: ECGI Inverse Problem

## Slide 3: Ill-posedness
Noise on the measured torso potentials
Uncertainty in the location of measurement sites with respect to the source locations
Errors of segmentation of the geometry
Influence of the cardiac motion

## Slide 4: Formulation

## Slide 5: Laplace Equation
No source
Green’s Second Theorem

## Slide 6: Methods
Forward Model: Method of Fundamental Solutions (MFS)
Inverse Solution: Tikhonov Regularization

## Slide 7: Method of Fundamental Solutions

## Slide 8: Tikhonov Regularization Formulation

## Slide 9: Choice of Regularization Parameter α
CRESO
L-Curve
U-Curve
Automated Discrete Picard Condition **

## Slide 10: Discrete Picard Condition
DPC starts to fail when starts to increase and the solution is completely dominated by smaller SVs.
Notes: That is, the 𝜎𝜎𝑖𝑖 above the regularization parameter 𝛼𝛼 (useful SVs) must decay to zero slower than the corresponding right hand side coefficients, | 𝑢𝑢𝑖𝑖𝑇𝑇𝑏𝑏|

## Slide 11: Automated Discrete Picard Condition (ADPC)
Calculate Singular Value Decomposition of the system matrix.
For each time instant , compute , fit a polynomial of degree 5 to 7.
For each , find the maximum singular value index such that and equate it to the regularization parameter

## Slide 12: Dataset Generation
To test the effect of the new regularization parameter choice method and to compare with previous ones, eight different activation patterns (1 single site pacing in the right ventricular (RV) free wall, 1 single site pacing in the left ventricular (LV) lateral endocardial wall, 1 single site pacing in the LV mid wall, 1 single pacing site in the LV lateral epi and 4 single spiral waves) were simulated [19]. Propagating activation was simulated with a monodomain reaction-diffusion model in a realistic 3D model of the human ventricles, with transmembrane ionic currents computed with the Ten Tusscher et al. model for the human ventricular myocyte.

## Slide 13: Boundary Element Method

## Slide 14: Modifications in the implementation

## Slide 15: Results
Evaluation metrics

## Slide 16
Temporal
Spatial

## Slide 19
CC
RE
Metrics
0.4
0.5
0.6
0.7
0.8
0.9
1
Metric Values
ADPC vs L-Curve Results for ADPC Ratio: 10
Simulations run on 16 different beats
Method Names
ADPC
L-Curve
CC
RE
Metrics
0.4
0.5
0.6
0.7
0.8
0.9
1
Metric Values
ADPC vs L-Curve Results for ADPC Ratio: 12.5
Simulations run on 16 different beats
Method Names
ADPC
L-Curve
CC
RE
Metrics
0.55
0.6
0.65
0.7
0.75
0.8
0.85
0.9
Metric Values
ADPC vs L-Curve Results for ADPC Ratio: 15
Simulations run on 16 different beats
Method Names
ADPC
L-Curve
CC
RE
Metrics
0.55
0.6
0.65
0.7
0.75
0.8
0.85
0.9
Metric Values
ADPC vs L-Curve Results for ADPC Ratio: 17.5
Simulations run on 16 different beats
Method Names
ADPC
L-Curve
CC
RE
Metrics
0.55
0.6
0.65
0.7
0.75
0.8
0.85
0.9
Metric Values
ADPC vs L-Curve Results for ADPC Ratio: 20
Simulations run on 16 different beats
Method Names
ADPC
L-Curve

## Slide 20: Activation Time Maps

## Slide 21: References